EPHS SAMPLE SUBMISSION

TYPES OF LAWS THAT MAY BE LISTED

The purpose of this guidance is to help tribes understand what is required to show compliance with 25 C.F.R. 559.5.  The list below is not intended to be all inclusive, but merely illustrates the types of laws that may be applicable to a tribal gaming facility.  Tribes should include in their submission any law, resolution, code, policy, standard or procedure that demonstrates compliance with applicable environmental, public health and safety standards.

Emergency Preparedness:

- International Code Council

  - Adoption of International Fire* Code

- National Fire Protection Association

  - Adoption of NFPA 1- Uniform Fire* Code

  - Adoption of NFPA 101- Life Safety Code

  - Adoption of other NFPA sections (see website for additional NFPA sections: http://www.nfpa.org/aboutthecodes/list_of_codes_and_standards.asp) and titles of other codes the tribe has adopted and is applicable to your gaming facility.

- State Fire*/Life Safety Code

  - Adoption of any State Fire and/or Life Safety Code

- Tribal Law(s)/Resolution(s)/Code(s)/Ordinance(s)/etc that were enacted to protect against the injury and loss of life for persons using the facility, as well as protect the facility against fire*.

- MOU/MOA(s) for emergency services (Fire, Emergency Medical Tech (EMT), Ambulance, Police).

- Amendments to any of the adopted items listed above.

Food and Water:

- Adoption of the FDA Food Code

- Adoption of a State Food Code

- Tribal Law(s)/Resolution(s)/Code(s)/Ordinance(s)/etc that were enacted to protect water and/or food from contamination.

- Tribal Food Safety Program that includes training requirements and a food inspection system.

- Identify the source of potable water for the gaming facility (city, county, tribal wells, tribal water treatment plant, etc)

- Amendments to any of the adopted items listed above.

Construction and Maintenance

- International Code Council

  - Adoption of the International Building Code

  - Adoption of the International Plumbing Code

  - Adoption of the International Mechanical Code

  - Adoption of the International Property Maintenance Code

- National Fire Protection Association

  - Adoption of NFPA 10- Standard for Portable Fire Extinguishers

  - Adoption of NFPA 70- National Electric Code

  - Adoption of NFPA 72- National Fire Alarm Code

  - Adoption of NFPA 5000- Building Construction and Safety Code

- Adoption of other NFPA sections (see website for additional NFPA sections: http://www.nfpa.org/aboutthecodes/list_of_codes_and_standards.asp) and titles of other codes the tribe has adopted and is applicable to your gaming facility

- Tribal Law(s)/Resolution(s)/Code(s)/Ordinance(s)/etc that were enacted to ensure construction and maintenance is performed in a manner designed to protect the occupants of the gaming facility.

- Amendments to any of the adopted items listed above.

Hazardous & Other materials (paints, solvents, pesticides, cleaning agents, and fuels)

- Tribal Law(s)/Resolution(s)/Code(s)/Ordinance(s)/etc that were enacted to ensure both hazardous and non-hazardous materials and waste are properly handled, used transported, and disposed of.

- Comprehensive hazardous materials/waste program (to include but not limited to procedures for handling, using, transporting, and disposing of the materials, complete and updated MSDS book, etc.)

- Adoption of applicable sections 40 C.F.R. §239-282

- Amendments to any of the adopted items listed above.

Sanitation:

- Identify how waste water from the facility is handled (city sewer, treatment/spray fields, treatment/discharge on or off site).

- List of permits issued under either Federal or state National Pollutant Discharge Elimination System (NPDES) for waste or storm water.

- Comprehensive biohazards program

- List the location of the Storm Water Pollution Prevention Plan (SWPPP)

- List the location of the recycling program, if one exists.